## Transformer
LF Generator Transformer
1. Inductance Vs Frequency
|  | 1차측 |  | 2차측
|  | Frequency[KHz] | Inductance[uH] | Frequency[KHz] | Inductance[mH]
|  | 100 | 983 | 100 | 24.19
|  | 10 | 597 | 10 | 14.96
|  | 1 | 594 | 1 | 14.96
|  | 0.12 | 594 | 0.12 | 15.03
=> 100KHz에서 inductance가 두배로 상승함

## Power
LF Generator Power Set-up | [7 empty] | 220VAC Regulator
[9 empty] | V1.0 | Origin
| Measure | [6 empty] | Vin | 220 | 220 | VAC
|  | Frequency[KHz] | Power[W] | Pulse width[usec] | On-Time[usec] |  |  | Vout | 311.127 | 220 | VDC
|  | 50 | 10 | 2 | 82 | 8.2
|  | 50 | 20 | 2 | 182 | 9.1
|  | 50 | 100 | 2 | 900 | 9 |  | Vtran_in | 150 | 220 | VDC
[8 empty] | Itran_in | 20 |  | A
|  | Frequency[KHz] | Power[W] | Pulse width[usec] | On-Time[usec] |  |  | Power | 3000 |  | W
|  | 50 | 20 | 2 | 182 | 9.1
|  | 30 | 20 | 3.2 | 70 | 11.2 |  | Vtran_out | 720
[7 empty] | Power | 500 | W
|  | Full width | 5000 | 5000 | usec |  | Vin | 220 | VDC
|  | Full Frequency | 0.2 | 0.2 | KHz |  | Iin | 2.2727 | A
|  | Pulse Frequency | 50 | 30 | KHz
|  | Pulse width | 20 | 33.3333 | usec
|  | Pulse/Full | 0.004 | 0.0066667 | ratio
|  | 10% duty | 0.0004 | 0.00066667 |  |  |  | 220 | 220
|  |  | 0.2 | 0.33333 |  |  |  | 48400 | 311.127
24200
155.5635

## Snubber Review
1. Snubber 회로 검토
1) Snubber 회로 추가시 Vgs 변화
=> Pulse Off시 역으로 걸리는 전압이 떨어진다.
2) Snubber 회로 추가시 전류 변화
=> FET의 전류가 삼각파 형태를 띄며, Low FET의 경우에는 전류 방향이 반대로 흐른다.
=> FET의 전류가 구형파 형태를 띄며, Low FET도 정상 방향으로 흐른다.
3) Snubber 회로 추가시 Transformer 전류 변화
=> Snubber가 없는 경우, Transformer의 전류가 안정화되지 않는다. Snubber 추가시 0.4msec내에 안정화 된다.

## Sheet2
1N4740A | Onsemi | Zener Diode Vz=10V Izsm=454mA 1W 5% DO-41
1N4744A | Onsemi | Zener Diode Vz=15V Izsm=304mA 1W 5% DO-41
Vin | 150 | V | T1 | 1 | L1 | 600 | uH
Vout | 750 | V | T2 | 5 | L2 | 15000